## Slide 1
QUIZ

## Slide 2
1. The compact volume provides an efficient exterior wall to floor area ratio with the interior central light court acting as an organizational feature for optimizing circulation and wayfinding for the project’s complex program. Both passive and active sustainable strategies informed the design from the inception. Features include:
site orientation, massing optimization, responsive façade design and onsite photovoltaic power generation
displacement air delivery systems, radiant hydronic systems, and dimming controls
demand control ventilation systems, water harvesting and extensive use of daylighting systems
All of above
Notes: Answer- D

## Slide 3
2. The intent of the landscape design is to reinforce the architectural approach while respecting the natural topography of the site. The plant material is native, drought tolerant and representative of the three California biomes: chaparral, woodland and desert. Which of the following statement is true regarding the project ecology?
The diverse southern California species were selected to attract multiple species of birds and insect pollinators increasing their urban habitat
To minimize bird collisions with the glass cube, a visual pattern of internal louvers, frits and shadow boxes enhance the façade
The sloped garden planes that border the accessible pathways include indigenous planting representative of California chaparral supporting sustainable objectives
All of above
Notes: Answer- D

## Slide 4
3. Watershed management is of utmost importance in densely populated and water scarce Los Angeles. Conservation strategies to capture, reuse and filter water were implemented to lessen impacts and alleviate an overburdened storm system within the highly-urbanized area. The project captures rainwater and cooling tower condensate directing it to a 105,000 gallon cistern located below the sloped garden on the Broadway side. The water collected is filtered and used for irrigation, providing 100 percent of the annual needs. Mark the above statement either True or false
True
False
Notes: Answer-A

## Slide 5
4. According to the economy of this project, the team was able to reduce the typical floor footprint by approximately _____ , a ______ reduction, with little functional loss.
2700 SF, 6%
2800 SF, 6%
2700 SF, 5%
2800 SF, 5%
Notes: Answer - c

## Slide 6
5. The design seamlessly integrates sustainable features resulting in a high level of performance. Surrounding the skylight are ____ photovoltaic panels generating 507,000 kWh of carbon free energy annually.
700
800
900
None of above
Notes: Answer- C

## Slide 7
6. The Courthouse incorporates many measures to ensure operability and resilience. The structural design considers seismic loads utilizing buckling restrained braces (BRBs) to mitigate forces. What is the advantages of using BRBs
The BRBs are integrated into the roof hat truss that supports the floating levels of the glazed cube
The composite reinforced structure and floating the cubic volume above the ground plane helps enhance the security stand-off to mitigate possible threats and prevent progressive collapse
Only A
Both A and B
Notes: Answer- D

## Slide 8
THANK YOU